## Sheet1
Equipment Requirements for a Primary Healthcare Centre Laboratory
Major Equipment
no. | Description | QTY | Remarks
1 | Binocular Microscope, 220V, complete with: | 1
| − Eyepieces, widefield 10x 2 | 2
| − Objectives x 10, 40 and x 100 oil immersion, each | 1
| − Condensor with iris and filter tray | 1
| − Plastic cover | 1
| − Mechanical stag | 1
| − Spare bulbs | 3
2 | Centrifuge, electric, cap.:12-24 tubes, timer, speed ajustable up to 4000 rpm | 1
3 | Haematocrit centrifuge, timer, one speed | 1
4 | Spectrophotometre, Digital or Analogue read | 1
− Wavelength range about 380 - 900nm, and tungsten bulb
| − Spare bulbs | 3
| − Acrylic cuvettes 10 mm | 20
| − Glass cuvettes 10mm | 4
5 | Ohaus Electronic Toploader Balance CT 600 sens. 0.1g | 1
| − with Battery and AC adapter, 220V | 1
6 | Water distillation unit, electric still, 1gal./hr. | 1 | bigger capacity if shared with other units
7 | Hotair oven, 30-200 degree, 0.05 cubic-metre | 1 | bigger capacity if shared with other units
8 | Autoclave, small capacity, (about 12ltr) with | 1 | bigger capacity if shared with other units
| − Spare safety valves 4 | 4
| − Spare safety gaskets 2 | 2
9 | Rotator with timer for agglutination tests, 220V | 1
10 | Blood Pipettes Shaker, electical, 220V | 1
11 | Refrigerator with freezer compartment, small | 1 | bigger capacity if shared with other units
12 | Incubator for Simple Microbiology, 30 - 60 degree, 0.05 cubic metre | 1
Minor Equipment
no. | Description | QTY | Remarks
1 | Neubauer Counting Chamber w/ Cover Glasses | 2
2 | Westergreen ESR rack with | 1
| − ESR Glass tubes 20 | 20
3 | Interval timer 1 h (steps of 1 min) | 2
4 | Stop watch | 1
5 | Hand tally counter | 1
6 | Water-jet pump to clean pipettes | 1
7 | Stainless steel staining rack for a sink | 1
8 | Drying rack for glass and plastic ware | 2
9 | Manual differential cell counter up to 100 cells | 1
10 | Test tube rack, metal to hold 20 tubes/ dia.15mm | 6
11 | Pipetting aid rubber ball, Assistant | 2
12 | Small rubber tubing w/ mouth piece to fit blood diluting pipettes | 4
13 | Spirit lamp, metal with spare wicks | 2
14 | Tool kit (screw-driver, pair of pliers, hammer) | 1
15 | Tourniquet | 2
16 | Diamond pencil for glass writing | 1
17 | Grease pencil | 10
18 | Test tube clamp, wooden, 13 to 19mm diametre | 2
19 | Blood collection tray, organiser tray | 1
Glassware
no. | Description | QTY | Remarks
1 | Beaker, glass
| 100 ml | 2
| 250 ml | 2
| 500 ml | 2
| 1000 ml | 1
2 | Erlenmeyer flask, narrow mouth, heat-resistant glass
| 100 ml | 3
| 250 ml | 3
| 500 ml | 2
| 1000 ml | 1
3 | Measuring cylinder, graduated, glass
| 50 ml | 3
| 250 ml | 3
| 500 ml | 3
| 1000 ml | 2
4 | Volumetric flask, with stopper
| 100 ml | 1
| 250 ml | 1
| 500 ml | 1
| 1000 ml | 2
5 | Centrifuge tube, ungraduated, 10 ml conical, thick glass 0 | 200
6 | Test tube, glass, heat resistant
| 75 x 11 mm | 100
| 100 x 13 mm | 50
| 150 x 15 mm | 50
7 | Pipette, 20 ul | 15
8 | Pipette, WBC Diluting with white bead | 10
9 | Pipette, RBC Diluting with white bead | 5
10 | Pipette, volumetric, bulb
| 1 ml | 4
| 5 ml | 4
11 | Pipette, graduated,
| 1 ml | 10
| 5 ml | 10
| 10 ml | 10
12 | Glass rods, 150 x 4 mm | 20
13 | Funnel, glass
| 80 mm diametre | 3
| 100 mm diametre | 3
| 120 mm diametre | 1
14 | Dropping Bottles with Lugs and Ground Glass Stoppers
| 30 ml | 10
| 50 ml | 10
15 | Dropping Bottles with Ground Glass Stopper/Pipette
| 30 ml | 6
| 50 ml | 6
16 | Amber Glass Reagent Bottles, narrow mouth
| 250 ml | 6
| 500 ml | 10
| 1000ml | 6
17 | Petri dish with lid, glass, 90 mm diametre | 3
Consumables
no. | Description | QTY | Remarks
1 | Microscope slides, 75 x 25 mm, box of 100 | 20
2 | Cover slips, 22 x 22 x 0.22mm, pack of 10 x 100 | 10
3 | Lancet, disposable, sterile, box of 200 | 10
4 | Syringe, Luer, plastic, disposable 2 ml or Vacutainer Brand tube | 500
5 | Syringe, Luer, plastic, disposable 5 ml or Vacutainer Brand tube | 50
6 | EDTA tubes, Vacutainer Brand | 200
7 | Microhaematocrit capillary, with heparin, pack of 100 | 6
8 | Microhaematocrit capillary, without heparin, pack of 100 | 10
9 | Capillary tube Sealant Compound | 3
10 | Container for Stool specimen collection with lid | 1500
11 | Container for Urine Specimen Collection | 1500
12 | Container for Sputum collection, wide mouth, plastic with lid | 200
13 | Lens paper for Microscope, book of 50 sheets | 10
14 | Filter Paper, Whatman No.1, box of 100 sheets
| 90 mm | 2
| 150 mm | 2
| 240 mm | 2
15 | Wooden applicators, box of 1000 | 4
16 | Autoclave tape, rolls | 3
17 | Pipettes, disposalbe, plastic bulb, 3 ml | 200
18 | Cotton Gauze, non-sterile, 500g rolls | 5
19 | Cotton wool (absorbent), non-sterile 500g rolls | 10
22 | Rubber gloves, autoclavable, size M and L, pairs | 4
23 | Gloves, disposalbe, size M and L, boxes | 10
24 | Graph paper, sheets, book | 2
25 | Laboratory record books | 10
26 | Stock and Inventory index cards | 300
27 | Pencils, HB box of 12 | 2
Others
no. | Description | QTY | Remarks
1 | Broad tipped forceps, Steel about 115mm long | 2
2 | Scissors all purpose, 180 mm | 1
3 | Buckets, metal, 15 ltr | 2
4 | Test tube brush | 3
5 | Brush for bottle and flasks | 5
6 | Needle collection container, | 4
7 | Funnel, polyethylene
| 65 mm diametre | 2
| 150 mm diametre | 2
| 100 mm diametre | 1
8 | Drying rack for glass slides | 1
9 | Set of spatula for weighing chemicals | 1
10 | Handle for wire loop, metal | 2
11 | Wire innoculation loops, | 6
12 | Scalpel handle, stainless steel, for No.22 blades | 1
13 | Plastic basin, 5 litre | 2
14 | Plastic bucket, 15 litre | 2
15 | Wash bottle, polyethylene, 250 ml | 4
16 | pH Paper, Range 1-12 | 1
17 | Eppendorf Standard Pipetters
| 20 ul | 1
| 50 ul | 1
| 100 ul | 1
| 500 ul | 1
18 | Stand with Storage box for pipetter tips | 1
19 | Yellow pipetter tips, pack of 500 | 2
20 | Blue Pipetter tips, pack of 500 | 2
Reagents
no. | Description | QTY | Remarks
1 | Urea, Berthelot Modified Method, Reagent kit | 1
2 | Glucose, Reagent kit | 2
3 | Creatinine, Reagent Kit | 1
4 | GOT, Reagent Kit | 1
5 | GPT, Reagent Kit | 1
6 | Cholesterol, Reagent Kit | 1
7 | Triglyceride, Reagent Kit | 1
8 | Rheumatoid Factor, Latex Test Kit, 50 tests | 1
9 | Brucella, Latex Test Kit, 50 tests | 1
10 | Pregnancy Test - Kit, 50 tests | 1
11 | VDRL, Latex Test Kits | 1
12 | HIV Spot test
13 | Acetone (Gram stain) | 2 ltr
14 | Acetic acid 36% (WBC count) | 500ml
15 | EDTA (anticoagulant) not required if Vacutainer used | 100g
16 | Ether (concentration of parasites) | 2 ltr
17 | Formalin 40% (concnetration of parasites, fixative) | 2 ltr
18 | Basic fuchsin (Gram and Ziehl Nelson Stain) | 100g
19 | Gentian violet ( Gram and Turk solution) | 100g
20 | Methanol (Gram & Ziehl Nelson Stain, decolourizer, spirit lamp) | 5 ltr
21 | Iodine (Cyst identification, Gram stain ) | 100g
22 | Methylene blue (ZN stain, WBC stain in stool) | 100g
23 | Phenol crystals (Carbon Fuchsin) | 500 g
24 | Potassium iodide (Gram Stain) | 500 g
25 | Drabkin's solution | 2 ltr
26 | Standard for Cyanmethaemoglobin method | 5
27 | Immersion oil (microscope) | 250ml
28 | Potassium hydroxide (Fungus examination) | 500 g
29 | Eosin powder (Cysts staining) 10 g | 10g
30 | Sodium metabisulphite (Sickle Cell Screening 500 g | 500g
31 | Vaseline (Sickle cell screening) 250 g | 250g