Laboratory Critical Values / Critical Results List

References (accessed on 25 Jan 2016):

http://www.mayomedicallaboratories.com/test-catalog/appendix/criticalvalues/ (01 Dec 2015)

http://www.stanfordlab.com/pages/panicvalues.htm#

CHEMISTRY

| Test Report Name |  | Age |  |  | Critical Low |  | Critical High | Units |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ammonia |  | ≥ 1 yr |  |  | - |  | ≥ 200 | mcmol/L |  |
|  |  |  |  |  |  |  | ≥ 500 | mcg/dL |  |
| Ammonia |  | < 1 yr |  |  | - |  | ≥ 100 | mcmol/L |  |
|  |  |  |  |  |  |  | ≥ 150 | mcg/dL |  |
| Anion Gap = (Sodium+Potassium) - (Chloride+CO2) |  | any age |  |  | - |  | > 30 | mmol/L |  |
| Bilirubin Total, Serum |  | < 1 yr |  |  | - |  | ≥ 15.0 | mg/dL |  |
| Calcium, Total |  |  |  |  | ≤ 6.5 |  | ≥ 13.0 | mg/dL |  |
| Calcium, Ionized, Blood |  | < 1 yr |  |  | ≤ 3.0 |  | ≥ 5.5 | mg/dL |  |
| Calcium, Ionized, Blood |  | ≥ 1 yr |  |  | ≤ 3.0 |  | ≥ 6.0 | mg/dL |  |
| Carbon Monoxide (Carboxyhemoglobin Level) |  | any age |  |  | - |  | ≥ 20 | % |  |
| Carbon Dioxide (CO2) |  | any age |  |  | < 10 |  | > 40 | mmol/L |  |
| Chloride |  | any age |  |  | < 80 |  | >120 | mmol/L |  |
| Creatinine, Blood/Plasma/Serum |  | 1 day-4 weeks |  |  | - |  | ≥ 1.5 | mg/dL |  |
| Creatinine, Blood/Plasma/Serum |  | 5 wks-23 months |  | - |  |  | ≥ 2.0 | mg/dL |  |
| Creatinine, Blood/Plasma/Serum |  | 2 yrs - 11 yrs |  | - |  |  | ≥ 2.5 | mg/dL |  |
| Creatinine, Blood/Plasma/Serum |  | 12 yrs -15 yrs |  | - |  |  | ≥ 3.0 | mg/dL |  |
| Creatinine, Blood/Plasma/Serum |  | ≥ 16 yrs |  |  | - |  | ≥ 10.0 | mg/dL |  |
| Creatine Kinase, Total |  |  |  |  | - |  | ≥ 10,000 | U/L |  |
| FT4 (Free Thyroxine) |  | < 50 yrs |  |  |  |  | ≥ 7.8 | ng/dL |  |
|  |  |  |  |  | - |  |  |  |  |
| FT4 (Free Thyroxine) |  | ≥ 50 yrs |  | - |  |  | ≥ 6.0 | ng/dL |  |
| Glucose, Plasma/Serum |  | < 4 weeks |  |  | ≤ 40 |  | > 400 | mg/dL |  |
| Glucose, Plasma/Serum |  | ≥ 4 weeks |  |  | ≤ 50 |  | ≥ 400 | mg/dL |  |
| Iron. Serum |  | any age |  |  | - |  | ≥ 350 | ug/dL |  |
| Magnesium, Serum |  | any age |  |  | ≤ 1.0 |  | > 3.5 | mg/dL |  |
| Osmolality |  | any age |  |  | ≤ 190 |  | ≥ 390 | mOsm/Kg |  |
| *pH |  | any age |  | < 7.20 |  |  | > 7.60 | pH |  |
| *pC02, arterial |  | any age |  | < 20.0 |  |  | > 65.0 | mmHg |  |
| *pO2 (MCHS) |  | any age |  | < 50.0 |  |  | - | mmHg |  |
| Phosphorus |  | < 3 years of age |  |  | ≤ 2.5 |  | - | mg/dL |  |
| Phosphorus |  | 3-12 years of age |  |  | ≤ 2.0 |  | - | mg/dL |  |
| Phosphorus |  | > 12 years of age |  |  | ≤ 1.5 |  | - | mg/dL |  |
| Potassium |  | < 1 week |  |  | ≤ 2.5 |  | > 6.0 | mmol/L |  |
| Potassium |  | > 1 week |  |  | < 3.0 |  | > 6.0 | mmol/L |  |
| Procalcitonin |  | > 1 month |  |  | - |  | > 2 | ng/mL |  |
| Sodium |  | any age |  |  | ≤125 |  | ≥ 160 | mmol/L |  |
| Total Bilirubin |  | < 1 day >1day <2days >2days <30days |  |  |  |  | ≥ 8 ≥ 13 ≥ 15 | mg/dL |  |
| Troponin T |  | any age |  |  | - |  | ≥ 0.01 | ng/ml |  |
| Troponin I |  |  |  |  | - |  | ≥ 0.3 | ng/ml |  |

HEMATOLOGY

| Test Report Name | Age | Critical Low | Critical High | Units |
| --- | --- | --- | --- | --- |
| Activated PTT, Plasma |  | - | ≥ 100 | sec |
| Fibrinogen |  | < 100 | - | mg/dL |
| Hemoglobin | 0-7 weeks | ≤ 7.0 | ≥ 24.0 | g/dL |
| Hemoglobin | >7 weeks | ≤ 7.0 | ≥ 20.0 | g/dL |
| INR (International Normalizing Ratio) |  | - | ≥ 5.0 |  |
| Leukocytes |  | ≤ 0.5 | ≥ 50 | x10(9)/L |
| Neutrophil Count, Absolute |  | ≤ 0.5 | - | x10(9)/L |
| Neutrophils |  | ≤ 0.5 | - | x10(9)/L |
| Platelets, Blood |  | ≤ 50 | ≥ 1000 | x10(9)/L |

| MICROBIOLOGY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  | Result |  | Specimen source and patient details |  |
| Detection (e.g., stain, culture, PCR, antigen detection) of a |  |  |  | Blood, cerebrospinal fluid, brain tissue, |  |
| clinically significant bacterium, fungus, parasite, or virus |  |  |  | amniotic fluid, ocular fluid/corneal scrapings |  |
| (except HIV and hepatitis A through E virus) |  |  |  |  |  |
| Identification/detection of a select agent (or other highly |  |  |  | Any specimen tested |  |
| pathogenic organism) including, but not limited to Bacillus |  |  |  |  |  |
| anthracis, Brucella species, Burkholderia mallei, Burkholderia |  |  |  |  |  |
| pseudomallei, Clostridium botulinum, Corynebacterium |  |  |  |  |  |
| diphtheriae, Coxiella burnetii, Francisella tularensis, |  |  |  |  |  |
| monkeypox virus, variola virus, Vibrio cholerae, or Yersinia |  |  |  |  |  |
| pestis. In the event of an outbreak of a novel contagious |  |  |  |  |  |
| microorganism, detection of such an organism may fall into |  |  |  |  |  |
| this category. |  |  |  |  |  |
| Detection of clinically significant fungi including, but not |  |  |  | Any specimen tested |  |
| limited to members of the Zygomycetes class, dimorphic |  |  |  |  |  |
| fungal pathogens (Histoplasma capsulatum, Blastomyces |  |  |  |  |  |
| dermatitidis, or Coccidioides species), Cryptococcus |  |  |  |  |  |
| neoformans, Cryptococcus gattii, or Pneumocystis jiroveci |  |  |  |  |  |
| Detection of Strongyloides stercoralis larvae |  |  |  | Non-intestinal specimen |  |
| Detection of herpes simplex virus or Bordetella pertussis |  |  |  | Any specimen tested from a neonate (< 1 |  |
|  |  |  |  | month) |  |

| TOXICOLOGY/TDM |  |  |  |  |
| --- | --- | --- | --- | --- |
| Test Report Name | Age | Critical Low | Critical High | Units |
| Acetaminophen, S |  | - | > 150 | mcg/mL |
|  |  |  | 4 hours after dose |  |
| Acetone (Volatile Screen), applies to all |  | - | Any value detected | mg/dL |
| specimen types |  |  |  |  |
| Amitriptyline and Nortriptyline, S |  | - | ≥ 300 | ng/mL |
| Butalbital, S |  | - | ≥ 10 | mcg/mL |
| Caffeine, S |  | - | ≥ 30 | mcg/mL |
| Carbamazepine, Total, S |  | - | ≥ 15.0 | mcg/mL |
| Carbamazepine, Free, S |  | - | ≥ 4.0 | mcg/mL |
| Cyanide, B |  | - | ≥ 2.0 | mcg/mL |
| Desipramine, S |  | - | ≥ 300 | ng/mL |
| Digoxin, S |  | - | ≥ 4.0 | ng/mL |
| Disopyramide, S |  | - | ≥ 7.0 | mcg/mL |
| Doxepin and Nordoxepin, S |  |  | ≥ 300 | ng/mL |
| Ethanol, Blood |  | - | ≥ 400 | mg/dL |
| Ethanol, Serum |  | - | ≥ 400 | mg/dL |
| Ethosuximide, S |  | - | >150 | mcg/mL |
| Ethylene Glycol, S |  | - | ≥ 20 | mg/dL |
| Imipramine and Desipramine, S |  | - | ≥ 300 | ng/mL |
| Isopropanol (Volatile Screen), applies to all |  |  | Any value detected | mg/dL |
| specimen types |  |  |  |  |
| Lidocaine, S |  | - | > 6.0 | mcg/mL |
| Lead, Blood | 0 – 15 yrs | - | ≥ 20 | mcg/dL |
| Lead, Blood | ≥ 16 yrs | - | ≥ 70 | mcg/dL |
| Lithium, S |  | - | > 1.6 | mmol/L |
| Methanol (Volatile Screen), applies to all |  | - | Any value detected | mg/dL |
| specimen types |  |  |  |  |
| Nortriptyline, S |  | - | ≥ 300 | ng/mL |
| Phenobarbital, S |  | - | ≥ 60.0 | mcg/mL |
| Phenytoin, Total, S |  | - | ≥ 30.0 | mcg/mL |
| Phenytoin, Free, S |  | - | ≥ 2.5 | mcg/mL |
| Primidone and Phenobarbital, S |  | - |  |  |
| Primidone |  |  | ≥ 15.0 | mcg/mL |
| Phenobarbital |  |  | ≥ 60.0 | mcg/mL |
| Procainamide, S |  | - |  |  |
| Procainamide |  |  | >12 | mcg/mL |
| N-Acetylprocainamide |  |  | ≥ 40 | mcg/mL |
| Quinidine, S |  | - | ≥ 6.0 | mcg/mL |
| Salicylates, S |  | - | ≥ 50.0 | mg/dL |
| Theophylline, S |  | - | >20 | mcg/mL |
| Valproic Acid, Free and Total, S |  | - |  |  |
| Free Valproic Acid |  |  | >30 | mcg/mL |
| Total Valproic Acid |  |  | ≥ 151 | mcg/mL |
| Valproic Acid, Total, S |  | - | ≥ 151 | mcg/mL |

Laboratory Semi-Urgent Results List

Reference: http://www.mayomedicallaboratories.com/articles/criticalvalues/view.php?name=Semi-Urgent+Results+List (01 Dec 2015)

Accessed on 25 Jan 2016

| Result | Specimen source and patient details |
| --- | --- |
| Detection of a fungus or clinically significant bacterium | Sterile body fluid or normally sterile tissue |
| Detection of an enteric pathogen, including but not limited to | Stool |
| Clostridium difficile, a bacterial, viral or parasitic enteric |  |
| pathogen, or Shiga toxin. |  |
| Detection of cytomegalovirus or adenovirus | Any specimen tested from a neonate (< 1 |
|  | month) |
| Detection of Borrelia burgdorferi, Bartonella species, | Any specimen tested |
| Mycoplasma pneumoniae, Bordetella pertussis, Legionella |  |
| species, respiratory syncytial virus, mumps virus, |  |
| Echinococcus species, or Leishmania species |  |
| Detection of Mycobacterium tuberculosis complex or positive | Any specimen tested |
| acid-fast or modified acid-fast smear |  |
| Detection of resistant microorganisms as recommended by | Any specimen tested |
| local Infection Prevention and Control practice |  |
| Detection of clinically significant antibodies against selected | Serum or cerebrospinal fluid |
| organisms including but not limited to Brucella species, |  |
| Coxiella burnetii, encephalitis viruses (California, EEE, SLE, |  |
| WEE), hepatitis A, Leptospira species, measles, mumps, |  |
| murine typhus, Rocky Mountain spotted fever, syphilis, or |  |
| West Nile Virus |  |
| Detection of antigen against Legionella pneumophila or | Any specimen tested |
| Streptococcus pneumoniae |  |
| Detection of Neisseria gonorrhoeae and Chlamydia | Genitourinary specimen from pediatrics (≤15 |
| trachomatis | years) |

| Test | Result |
| --- | --- |
| Warfarin Sensitivity - Only specific high-risk | • VKORC1 Promoter Heterozygous (A/G) with |
| genotypes results | CYP2C9 homozygous *3/*3 |
|  | • VKORC1 Promoter Homozygous (A/A) with |
|  | CYP2C9 homozygous *3/*3 |
|  | • VKORC1 Promoter Homozygous (A/A) with |
|  | CYP2C9 homozygous *2/*2 |
|  | • VKORC1 Promoter Homozygous (A/A) with |
|  | CYP2C9 heterozygous *1/*2 |
|  | • VKORC1 Promoter Homozygous (A/A) with |
|  | CYP2C9 heterozygous *1/*3 |
|  | • VKORC1 Promoter Homozygous (A/A) with |
|  | CYP2C9 compound heterozygous *2/*3 |
| ADAMTS13 Activity | • < or = 10% |